## Primary subs
DNO Area | Substation Name | Voltage (kV) | Time when substation is generation dominated (years) | Associated MPANs
WPD - South West | HEMYOCK 11kV | 11kV | 10 | None at HV
WPD - South West | MANGOTSFIELD 11kV | 11kV | 2.5 | None at HV
WPD - South West | MANGOTSFIELD 11kV | 11kV | 2.5 | None at HV
WPD - South West | MANGOTSFIELD 11kV | 11kV | 2.5 | 2200041825924
WPD - South Wales | RHAYADER 11kV | 11kV | 2.5 | None at HV
WPD - South Wales | TREGARON 11kV | 11kV | 5 | None at HV
WPD - South Wales | TREGARON 11kV | 11kV | 5 | None at HV
WPD - South Wales | TREGARON 11kV | 11kV | 5 | 2199989641360
WPD - South Wales | USK 11kV | 11kV | 7.5 | 2100040819492
WPD - West Midlands | Alveston 33 11 | 11kV | 10 | 1430000005115
WPD - West Midlands | Bishops Cleeve 66 11 | 11kV | 10 | None at HV
WPD - West Midlands | Bixhead 33 11 | 11kV | 10 | None at HV
WPD - West Midlands | Cotes Heath 33 11 | 11kV | 5 | 1426234500003
WPD - West Midlands | Eccleshall 33 11 | 11kV | 5 | 1460001500484
WPD - West Midlands | Gnosall 33 11 | 11kV | 10 | 1460002204630
WPD - West Midlands | Gnosall 33 11 | 11kV | 10 | 1460002026765
WPD - West Midlands | Mitcheldean 33 11 | 11kV | 10 | None at HV
WPD - West Midlands | Presteigne 66 11 | 11kV | 10 | None at HV
WPD - East Midlands | Ansty | 11kV | 10 | None at HV
WPD - East Midlands | Arley | 11kV | 2.5 | None at HV
WPD - East Midlands | Banbury Road | 11kV | 7.5 | None at HV
WPD - East Midlands | Barton Under Needwood | 11kV | 10 | None at HV
WPD - East Midlands | Barwell | 11kV | 5 | None at HV
WPD - East Midlands | Blidworth | 11kV | 7.5 | None at HV
WPD - East Midlands | Bolsover No. 2 (TA3 TB4) | 11kV | 5 | 1100771002715
WPD - East Midlands | Bolsover No. 2 (TA3 TB4) | 11kV | 5 | 1100770964035
WPD - East Midlands | Bretby | 11kV | 7.5 | None at HV
WPD - East Midlands | Chapel St. Leonards | 11kV | 5 | None at HV
WPD - East Midlands | Coalville | 11kV | 10 | None at HV
WPD - East Midlands | Coventry North | 11kV | 2.5 | None at HV
WPD - East Midlands | Coventry South | 11kV | 5 | None at HV
WPD - East Midlands | Cox Street 6.6 | 6.6kV | 10 | None at HV
WPD - East Midlands | Cromford | 11kV | 7.5 | 1100050222669
WPD - East Midlands | Earls Barton | 11kV | 7.5 | None at HV
WPD - East Midlands | Gedling | 11kV | 5 | None at HV
WPD - East Midlands | Great Hale | 11kV | 5 | None at HV
WPD - East Midlands | Groby Road | 11kV | 7.5 | None at HV
WPD - East Midlands | Hallcroft Road | 11kV | 7.5 | 1100050222622
WPD - East Midlands | Holbrook Lane 6.6 | 6.6kV | 7.5 | None at HV
WPD - East Midlands | Irthlingborough | 11kV | 7.5 | None at HV
WPD - East Midlands | Kingsthorpe | 11kV | 10 | None at HV
WPD - East Midlands | Lawford | 11kV | 7.5 | 1100770027124
WPD - East Midlands | Lime Tree Place | 11kV | 10 | None at HV
WPD - East Midlands | Market Harborough | 11kV | 10 | None at HV
WPD - East Midlands | Misson | 11kV | 10 | None at HV
WPD - East Midlands | Moira | 11kV | 7.5 | 1160001169291
WPD - East Midlands | Moorgreen | 11kV | 7.5 | None at HV
WPD - East Midlands | Morley (T1 & T2) | 11kV | 2.5 | None at HV
WPD - East Midlands | Newark Junction | 11kV | 5 | 1100051050600
WPD - East Midlands | Oakley | 11kV | 5 | None at HV
WPD - East Midlands | Roade | 11kV | 5 | None at HV
WPD - East Midlands | Sheepbridge | 11kV | 10 | None at HV
WPD - East Midlands | Sheffield Road 6.6 | 6.6kV | 10 | None at HV
WPD - East Midlands | Silverstone | 11kV | 2.5 | None at HV
WPD - East Midlands | Sleaford | 11kV | 5 | None at HV
WPD - East Midlands | Sleaford Town | 11kV | 2.5 | None at HV
WPD - East Midlands | South Croxton | 11kV | 7.5 | None at HV
WPD - East Midlands | Southam | 11kV | 7.5 | None at HV
WPD - East Midlands | Spilsby | 11kV | 5 | None at HV
WPD - East Midlands | Stamford (T3 T4) | 11kV | 10 | None at HV
WPD - East Midlands | Stickney | 11kV | 7.5 | None at HV
WPD - East Midlands | Stoneygate 6.6 | 6.6kV | 7.5 | None at HV
WPD - East Midlands | Thrapston | 11kV | 7.5 | 1160001449648
WPD - East Midlands | Thurmaston | 11kV | 10 | None at HV
WPD - East Midlands | Trent Alloys | 11kV | 7.5 | None at HV
WPD - East Midlands | Warwick University | 11kV | 7.5 | None at HV
WPD - East Midlands | Wellingborough Road | 11kV | 5 | None at HV
WPD - East Midlands | West Deeping (T1 & T2) | 11kV | 7.5 | None at HV
WPD - East Midlands | Westborough | 11kV | 7.5 | None at HV
WPD - East Midlands | Winslow | 11kV | 2.5 | None at HV
WPD - East Midlands | Woodhall Spa | 11kV | 2.5 | None at HV
Scottish Power Distribution | ARMADALE | 11kV | 2.5 | None at HV
Scottish Power Distribution | BAILLIESTON | 11kV | 10 | None at HV
Scottish Power Distribution | CARSFAD | 11kV | 2.5 | 1800053647413
Scottish Power Distribution | CASTLE | 11kV | 10 | None at HV
Scottish Power Distribution | COMMON FARM | 11kV | 7.5 | None at HV
Scottish Power Distribution | CORRA LINN | 11kV | 2.5 | 1800053646224
Scottish Power Distribution | CORRA LINN | 11kV | 2.5 | 1800053646242
Scottish Power Distribution | CORRA LINN | 11kV | 2.5 | 1800053912711
Scottish Power Distribution | DENMARK STREET | 11kV | 10 | 1800053647830
Scottish Power Distribution | EARLSTOUN | 11kV | 2.5 | None at HV
Scottish Power Distribution | ECKFORD STREET | 11kV | 7.5 | 1800054541391
Scottish Power Distribution | ECKFORD STREET | 11kV | 7.5 | 1800060194434
Scottish Power Distribution | GIRVAN | 11.5kV | 5 | 1800060493341
Scottish Power Distribution | GLENLEE | 11kV | 2.5 | 1800053647548
Scottish Power Distribution | ICI DUMFRIES | 11kV | 7.5 | None at HV
Scottish Power Distribution | KELVIN | 11.5kV | 10 | 1800060069770
Scottish Power Distribution | KELVIN | 11.5kV | 10 | 1800060402948
Scottish Power Distribution | KENDOON | 11kV | 2.5 | 1800053647496
Scottish Power Distribution | KENDOON | 11kV | 2.5 | 1800053647566
Scottish Power Distribution | KILBIRNIE | 11kV | 10 | 1800053648018
Scottish Power Distribution | KILBIRNIE | 11kV | 10 | 1800060422829
Scottish Power Distribution | KIRKNEWTON | 11kV | 7.5 | 1800053647690
Scottish Power Distribution | LADY VICTORIA | 11kV | 5 | 1800054535565
Scottish Power Distribution | LADY VICTORIA | 11kV | 5 | 1800054535820
Scottish Power Distribution | LADY VICTORIA | 11kV | 5 | 1800060038656
Scottish Power Distribution | LANGHOLM | 11kV | 5 | 1800054640924
Scottish Power Distribution | LARKHALL (PRIMARY) | 11kV | 7.5 | None at HV
Scottish Power Distribution | MANUEL | 11.5kV | 7.5 | 1800053647992
Scottish Power Distribution | MILTON | 11kV | 7.5 | 1800053647185
Scottish Power Distribution | PINWHERRY | 11kV | 7.5 | 1800054358329
Scottish Power Distribution | POLMONT | 11kV | 7.5 | 1800053647770
Scottish Power Distribution | POLMONT | 11kV | 7.5 | 1800054883610
Scottish Power Distribution | POLTONHALL | 11kV | 10 | 1800053647609
Scottish Power Distribution | STRATHLEVEN | 11kV | 7.5 | None at HV
Scottish Power Distribution | TONGLAND | 11kV | 2.5 | 1800053647584
Scottish Power Distribution | TONGLAND | 11kV | 2.5 | 1800053653791
Scottish Power Distribution | TONGLAND | 11kV | 2.5 | 1800053653816
Scottish Power Distribution | TOWNHILL | 11kV | 10 | 1800054479014
Scottish Power - Manweb | MDHB Freeport | 11kV | 10 | None at HV
Scottish Power - Manweb | Davy Way | 11kV | 10 | None at HV
Scottish Power - Manweb | Llay | 11kV | 10 | None at HV
Scottish Power - Manweb | Llanidloes | 11kV | 7.5 | None at HV
Scottish Power - Manweb | Monsanto | 11kV | 5 | 1300052408853
Scottish Power - Manweb | Monsanto | 11kV | 5 | 1300052359470
Scottish Power - Manweb | West Felton | 11kV | 7.5 | 1300060386442
Scottish Power - Manweb | Royal Liverpool Hosp | 11kV | 2.5 | None at HV
Scottish Power - Manweb | Rhyd-y-Foel | 11kV | 7.5 | 1300052206890
Scottish Power - Manweb | Rhyd-y-Foel | 11kV | 7.5 | 1300060037998
Scottish Power - Manweb | NWW Shell Green | 11kV | 10 | None at HV
Scottish Power - Manweb | British Sidac | 11kV | 7.5 | None at HV
Scottish Power - Manweb | Sherdley Rd | 11kV | 7.5 | None at HV
Scottish Power - Manweb | St Helens Linkway | 11kV | 7.5 | None at HV
Scottish Power - Manweb | Watery La | 11kV | 7.5 | None at HV
Scottish Power - Manweb | Pilkingtons Greengate Wrks | 11kV | 2.5 | None at HV
Scottish Power - Manweb | Glan-yr-Afon | 11kV | 10 | 1300037983880
Scottish Power - Manweb | Glan-yr-Afon | 11kV | 10 | 1300052553996
Scottish Power - Manweb | Tryweryn | 11kV | 2.5 | 1300050649196
UKPN - Eastern | Aldreth Primary 11kV | 11kV | 2.5 | 1030075745217
UKPN - Eastern | Barsham Primary 11kV | 11kV | 7.5 | 1023545856121
UKPN - Eastern | Barsham Primary 11kV | 11kV | 7.5 | 1030013499626
UKPN - Eastern | Beighton Primary 11kV | 11kV | 2.5 | 1023470411641
UKPN - Eastern | Chatteris Primary 11kV | 11kV | 5 | 1050000663866
UKPN - Eastern | Chisbon Heath Primary 11kV | 11kV | 2.5 | 1023529316482
UKPN - Eastern | Chisbon Heath Primary 11kV | 11kV | 2.5 | 1050000485148
UKPN - Eastern | Claydon Cement Primary 11kV | 11kV | 7.5 | 1023470530092
UKPN - Eastern | Claydon Cement Primary 11kV | 11kV | 7.5 | 1023480026560
UKPN - Eastern | Claydon Cement Primary 11kV | 11kV | 7.5 | 1030052384116
UKPN - Eastern | Earlham West Primary 11kV | 11kV | 7.5 | 1023480030479
UKPN - Eastern | Earlham West Primary 11kV | 11kV | 7.5 | 1023470552867
UKPN - Eastern | Eye Primary 11kV | 11kV | 7.5 | 1030081583765
UKPN - Eastern | Feltwell Primary 11kV | 11kV | 2.5 | 1023542073898
UKPN - Eastern | Feltwell Primary 11kV | 11kV | 2.5 | 1023542074359
UKPN - Eastern | Glaxo Primary 11kV | 11kV | 10 | 1023525150264
UKPN - Eastern | Glaxo Primary 11kV | 11kV | 10 | 1030074763118
UKPN - Eastern | Glaxo Primary 11kV | 11kV | 10 | 1030074763340
UKPN - Eastern | Godmanchester Primary 11kV | 11kV | 10 | 1023536852431
UKPN - Eastern | Hemblington Primary 11kV | 11kV | 5
UKPN - Eastern | Henstead Primary 11kV | 11kV | 10 | 1030076624736
UKPN - Eastern | Henstead Primary 11kV | 11kV | 10 | 1030074559563
UKPN - Eastern | Kings Langley Primary 11kV | 11kV | 10
UKPN - Eastern | Little Belhus Primary 11kV | 11kV | 2.5 | 1023477698961
UKPN - Eastern | Lt Massingham Primary 11kV | 11kV | 7.5 | 1050000425431
UKPN - Eastern | Martham Primary 11kV | 11kV | 5 | 1023470472820
UKPN - Eastern | Martham Primary 11kV | 11kV | 5 | 1023498040392
UKPN - Eastern | North Walsham Primary 11kV | 11kV | 10 | 1030077948383
UKPN - Eastern | Purfleet Local 11kV | 11kV | 7.5 | 1030005550134
UKPN - Eastern | Sall 11kV | 11kV | 10 | 1030075014507
UKPN - Eastern | Sall 11kV | 11kV | 10 | 1030079555856
UKPN - Eastern | Saunderton Primary 11kV | 11kV | 5
UKPN - Eastern | Scottow Primary 11kV | 11kV | 7.5 | 1023470439930
UKPN - Eastern | Selwyn Rd Primary 11kV | 11kV | 7.5
UKPN - Eastern | Shrub End Primary 11kV | 11kV | 10 | 1023479931114
UKPN - Eastern | Shrub End Primary 11kV | 11kV | 10 | 1030000470352
UKPN - Eastern | St Ives Primary 11kV | 11kV | 10 | 1023498051205
UKPN - Eastern | Stewartby Primary 6.6kV | 6.6kV | 2.5
UKPN - Eastern | Swaffham Grid 11kV | 11kV | 10 | 1023483766134
UKPN - Eastern | Thorpe Bay Primary 11kV | 11kV | 10 | 1030000471277
UKPN - Eastern | Thundersley Primary 11kV | 11kV | 2.5
UKPN - Eastern | West Hanningfield Pri 11kV | 11kV | 10
UKPN - London | Barking West 11kV | 11kV | 2.5 | EDCM Customer
UKPN - London | Beech St A 11kV | 11kV | 2.5
UKPN - London | Erith 11kV | 11kV | 2.5 | 1200010261584
UKPN - London | Silvertown 11kV | 11kV | 5 | 1200010261380
UKPN - Southern | Eastchurch Prison 6.6kV | 6.6kV | 10 | 1900090919772
Electricity North West | ASKAM | 33kV | 2.5 | 1620000370621
Electricity North West | ASKAM | 33kV | 2.5 | 1620000297050
Electricity North West | ASKAM | 33kV | 2.5 | 1620001622344
Electricity North West | ASKAM | 33kV | 2.5 | 1620001622362
Electricity North West | ASKAM | 33kV | 2.5 | 1640000168349
Electricity North West | ASKAM | 33kV | 2.5 | 1640000342510
Electricity North West | BARTON DOCK RD | 33kV | 10
Electricity North West | BURROW BECK | 33kV | 10
Electricity North West | CATTERALL WATERWORKS | 33kV | 7.5
Electricity North West | GLAXO | 33kV | 7.5
Electricity North West | HANDFORTH | 33kV | 7.5
Electricity North West | HDA NO1 | 33kV | 2.5 | 1620000578711
Electricity North West | HDA NO1 | 33kV | 2.5 | 1620000595442
Electricity North West | HDA NO1 | 33kV | 2.5 | 1630000892679
Electricity North West | HDA NO1 | 33kV | 2.5 | 1640000356480
Electricity North West | HDA NO1 | 33kV | 2.5 | 1640000356540
Electricity North West | HDA NO1 | 33kV | 2.5 | 1640000356504
Electricity North West | HEAP BRIDGE | 33kV | 5 | 1620000297041
Electricity North West | HEAP BRIDGE | 33kV | 5 | 1640000121527
Electricity North West | HOLLINWOOD | 33kV | 10 | 1620000588320
Electricity North West | HOLLINWOOD | 33kV | 10 | 1620000588301
Electricity North West | LANCASTER | 33kV | 7.5 | 1620000276859
Electricity North West | LANCASTER | 33kV | 7.5 | 1620001272864
Electricity North West | LANCASTER | 33kV | 7.5 | 1620000787480
Electricity North West | LANCASTER | 33kV | 7.5 | 1630000016808
Electricity North West | LANCASTER | 33kV | 7.5 | 1640000229391
Electricity North West | LANCASTER | 33kV | 7.5 | 1640000229391
Electricity North West | MINTSFEET | 33kV | 2.5 | 1620001170986
Electricity North West | MINTSFEET | 33kV | 2.5 | 1630000017467
Electricity North West | MOSS SIDE (leyland) | 33kV | 5 | 1630000788374
Electricity North West | NWGB PARTINGTON | 33kV | 7.5
Electricity North West | ROSSALL | 33kV | 2.5 | 1620001492631
Electricity North West | ROSSALL | 33kV | 2.5 | 1620001492640
Electricity North West | ROSSALL | 33kV | 2.5 | 1630000408955
Electricity North West | Siddick | 33kV | 5 | 1620000139530
Electricity North West | Siddick | 33kV | 5 | 1620000139521
Electricity North West | Siddick | 33kV | 5 | 1630000322387
Electricity North West | STANDISH | 33kV | 7.5 | 1620000631871
Electricity North West | STANDISH | 33kV | 7.5 | 1630000848322
Electricity North West | STRAWBERRY BANK | 33kV | 7.5 | 1620001070438
Electricity North West | STRAWBERRY BANK | 33kV | 7.5 | 1640000197828
Electricity North West | TRAFFORD PARK NORTH | 33kV | 2.5 | 1620000366643
Electricity North West | ULVERSTON | 33kV | 7.5 | 1620000366875
Electricity North West | ULVERSTON | 33kV | 7.5 | 1620000370339
Electricity North West | URMSTON | 33kV | 2.5 | 1640000035286
Electricity North West | RISLEY | 132kV | 5 | 1620000273964
Electricity North West | RISLEY | 132kV | 5 | 1620000237549
Electricity North West | RISLEY | 132kV | 5 | 1620000557066
Electricity North West | RISLEY | 132kV | 5 | 1620001393355
SSE - Southern | Five Oaks | 33/11 | 7.5 | No data provided
SSE - Southern | Herriard | 33/11 | 2.5 | No data provided
SSE - Southern | M E L Marchwood | 132/11 | 2.5 | No data provided
SSE - Scottish Hydro | Invergordon | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Redford | 11kV | 7.5 | No data provided
SSE - Scottish Hydro | Nostie Bridge | 11kV | 5 | No data provided
SSE - Scottish Hydro | Kerry Falls | 11kV | 5 | No data provided
SSE - Scottish Hydro | Fyvie | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Fyvie | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Fyvie | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Fyvie | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Methlick | 11kV | 5 | No data provided
SSE - Scottish Hydro | Torryburn | 11kV | 5 | No data provided
SSE - Scottish Hydro | Torryburn | 11kV | 5 | No data provided
SSE - Scottish Hydro | Milton of Craigie | 11kV | 5 | No data provided
SSE - Scottish Hydro | Dalcross | 11kV | 5 | No data provided
SSE - Scottish Hydro | Stoneywood Mills T3 | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Stoneywood Mills T3 | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Strichen | 11kV | 10 | No data provided
SSE - Scottish Hydro | Strichen | 11kV | 10 | No data provided
SSE - Scottish Hydro | Strichen | 11kV | 10 | No data provided
SSE - Scottish Hydro | Forss | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Burgar Hill | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Burgar Hill | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Burgar Hill | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Flotta | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Stromness | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Stromness | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Kinloch Rannoch | 11kV | 2.5 | No data provided
SSE - Scottish Hydro | Stoneyhill | 11kV | 2.5 | No data provided
NPG - Yorkshire | Barugh 11kV | 11kV | 10 | No data provided
NPG - Yorkshire | Southgate | 11kV | 10 | No data provided
NPG - Yorkshire | Corringham Road | 11kV | 7.5 | No data provided
NPG - Yorkshire | Stow | 11kV | 7.5 | No data provided
NPG - Yorkshire | Barnborough | 11kV | 7.5 | No data provided
NPG - Yorkshire | Hickleton | 11kV | 10 | No data provided
NPG - Yorkshire | Commonside Lane | 11kV | 10 | No data provided
NPG - Yorkshire | Monkton | 11kV | 2.5 | No data provided
NPG - Yorkshire | Denholme | 11kV | 2.5 | No data provided
NPG - Yorkshire | Easington | 11kV | 5 | No data provided
NPG - Yorkshire | Ottringham Road | 11kV | 2.5 | No data provided
NPG - Yorkshire | Withernsea | 11kV | 5 | No data provided
NPG - Yorkshire | Newport T1 | 11kV | 10 | No data provided
NPG - Yorkshire | Eastfield Road | 11kV | 10 | No data provided
NPG - Yorkshire | Clarendon Road | 11kV | 2.5 | No data provided
NPG - Yorkshire | Burmantofts | 11kV | 10 | No data provided
NPG - Yorkshire | Prospect Road | 11kV | 10 | No data provided
NPG - Yorkshire | Selby 11kV | 11kV | 10 | No data provided
NPG - Yorkshire | Ellifoot Lane | 11kV | 2.5 | No data provided
NPG - Yorkshire | Roxby | 11kV | 2.5 | No data provided
NPG - Yorkshire | Salterhebble | 11kV | 10 | No data provided
NPG - Yorkshire | Low Moor | 11kV | 7.5 | No data provided
NPG - Yorkshire | Hazelhead | 11kV | 5 | No data provided
NPG - Yorkshire | Scholes | 11kV | 10 | No data provided
NPG - Yorkshire | Harworth 11kV | 11kV | 10 | No data provided
NPG - Yorkshire | Kiveton Park | 11kV | 10 | No data provided
NPG - Yorkshire | Royds Lane | 11kV | 7.5 | No data provided
NPG - Yorkshire | Houghton Main | 11kV | 7.5 | No data provided
NPG - Yorkshire | Great Coates | 11kV | 2.5 | No data provided
NPG - Yorkshire | Yarborough Road 11kV | 11kV | 2.5 | No data provided
NPG - Northern | Consett | 20kV | 10 | No data provided
NPG - Northern | Morpeth | 20kV | 7.5 | No data provided
NPG - Northern | Blaydon Burn | 11kV | 10 | No data provided
NPG - Northern | Fourstones | 20kV | 2.5 | No data provided
NPG - Northern | Longbenton | 11kV | 10 | No data provided
NPG - Northern | Peterlee West | 11kV | 7.5 | No data provided
NPG - Northern | Wynyard | 11kV | 10 | No data provided
NPG - Northern | Knapton | 15kV | 2.5 | No data provided
NPG - Northern | Bran Sands | 11kV | 2.5 | No data provided
NPG - Northern | Haxby Road T1, T4 | 11kV | 5 | No data provided
NPG - Northern | Kielder Hydro | 20kV | 2.5 | No data provided
NPG - Northern | Fishburn T1 & T2 | 20kV | 2.5 | No data provided
NPG - Northern | Meadowfield | 11kV | 10 | No data provided
NPG - Northern | Coneythorpe | 11kV | 10 | No data provided